SECTION 08 53 13

PEERLESS HYBRID FIBER RESIN WINDOWS

This draft Specification is provided only as an aid in architect’s/engineer’s development of the final Specification and is not intended as a substitute for sound architectural/engineering judgment. The architect/engineer shall be responsible to convert this draft Specification into a final Specification that meets the functional and aesthetic needs of its client, as well as complying with all applicable codes.

These specifications describe window designs manufactured by Peerless Products, Inc. These versatile designs are made using high-performance European window profiles made with glass-fiber reinforced material. They allow the designer to create a variety of custom tilt-turn and other hinged window types, plus complementary fixed windows, and balcony glass doors. This specification is specific to Project In/Hopper designs while the other configurations are specified elsewhere.

PART 1 - GENERAL

  - SECTION INCLUDES

- Hopper Window Units – Peerless Project In Windows

- Peerless FR11 Project In Hybrid Fiber Resin Windows

1.2	REFERENCES

- FGIA/AAMA – Fenestration Glazing Industry Alliance:

- AAMA/ WDMA/ CSA 101/I.S.2/ A440-22 “Standard Specification for windows, doors, and unit skylights.”

- AAMA 303 Voluntary Specification for Rigid Polyvinyl Chloride (PVC) Exterior Profiles.

- AAMA 310 Voluntary Specifications for Reinforced Thermoplastic Fenestration Exterior Profile Extrusions.

- AAMA 320-22 Standard Guideline for Quality Welding, Bonding, and Ventilation of Thermoplastic (PVC) Extrusion Based Fenestration Products.

- AAMA 502 Voluntary Specifications for Field Testing of Newly Installed Fenestration Products.

- AAMA 513 Standard Laboratory Test Method for Determination of Forces and Motions Required to Activate Operable Parts of CW and AW Class Operable Windows, Sliding Glass Doors and Terrace Doors in Accessible Spaces.

- AAMA 901 Voluntary Specification for Rotary & Linear Operators in Window Applications.

- AAMA 910 Voluntary – Life Cycle – Specifications and Test Methods for AW Class Architectural Windows and Doors

- AAMA 800 Voluntary Specifications and Test Methods for Sealants.

- ASTM International:

- ASTM E90 Standard Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions and Elements.

- ASTM E1332 Standard Classification for Determination of Outdoor-Indoor Transmission Class.

- ASTM E283 Standard Test Method for Determining Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen.

- ASTM E330 Standard Test Method for Structural Performance of Exterior Windows, Doors, Skylights, and Curtain Walls by Uniform Static Air Pressure Difference.

- ASTM E331 Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Uniform Static Air Pressure Difference.

- ASTM E547 Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Cyclic Static Air Pressure Differential.

- ASTM E2190 Standard Specification for Insulating Glass Unit Performance and Evaluation.

- ASTM F588 Standard Test Methods for Measuring the Forced Entry Resistance of Window Assemblies, Excluding Glazing Impact.

- IGCC – Insulating Glass Certification Council:

- NFRC – National Fenestration Rating Council:

- NFRC 100 Procedure for Determining Fenestration Product U Factors.

- NFRC 102 Procedure for Measuring the Steady-State Thermal Transmittance of Fenestration Systems.

- NFRC 200 Procedure for Determining Fenestration Product Solar Heat Gain Coefficient and Visible Transmittance at Normal Incidence.

- NFRC 500 Procedure for Determining Fenestration Product Condensation Resistance Values.

- SGCC – Safety Glazing Certification Council:

- ANSI Z97.1 American National Standard for Safety Glazing Materials used in Buildings - Safety Performance Specifications and Methods of Test.

- 16 CFR 1201 Consumer Product Safety Commission Safety Standard for Architectural Glazing Materials – codified at Title 16, Part 1202 of the Code of Federal Regulations 2011 Edition.

1.3	SUBMITTALS

- Product Data: Test Reports or Waiver from an AAMA/FGIA accredited laboratory; manufacturer’s specifications.

- Shop Drawings: Window location chart; typical window elevations; details of assemblies, hardware, and glazing details for units glazed by the window manufacturer.

- Samples: Finish, Glass, and Frame samples available upon request.

1.4	QUALITY ASSURANCE

- Manufacturer Qualifications: A manufacturer capable of fabricating windows that meet or exceed performance requirements indicated, with documents of this performance backed by test reports and calculations.

- Installer Qualifications: Skilled craftspeople who have demonstrated a successful history of installing windows.

- Product Requirements:

- Acceptance will be by addendum only as no verbal approvals will be allowed.

- Submit bid on prequalified products in prebid written addendum. Bidder must identify manufacturer and model of product on which the bid is based.

- Mock-Up: Build mockups to verify selections made and to demonstrate the aesthetic effects, and to set quality standards for materials and execution.

- Finish areas designated by Architect.

- Do not proceed with the remaining work until workmanship, color and sheen are approved by Architect.

- Refinish mockup area as required to produce acceptable work.

1.5	DELIVERY, STORAGE AND HANDLING

- Store Products in manufacturer’s unopened packaging, protected from all environmental elements until ready for installation.

- Handle and protect windows and accessories in accordance with window manufacturer’s guidelines until project completion.

1.6	PROJECT CONDITIONS

- Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer’s absolute limits.

1.7	WARRANTY

- Manufacturer's Warranties:

- Windows: Manufacturer shall warrant for one year against defects in material and workmanship under normal use.

- Insulating Glass Units: Glass manufacturer shall warrant seal for ten years against visual obstruction from film formation or moisture collection between internal glass surfaces, excluding that caused by glass breakage or abuse.

- Finish: Laminated color foils shall be warranted for 20 years from streaks, blisters, sags, or other surface imperfections.

PART 2 – PRODUCTS

2.1	Manufacturers

- Acceptable Manufacturer: Peerless Products, Inc.

Headquarters located at 2403 S. Main St, Fort Scott, KS 66701

Tel: 620-223-4610		Email: request info (info@peerlessproducts.com)

- Web: http://www.peerlessproducts.com

- Substitutions: Not permitted.

2.2	HOPPER WINDOW UNITS – PEERLESS HYBRID FIBER RESIN PROJECT IN WINDOWS

- Product: Peerless FR11 Project In Hybrid Fiber Resin Windows

- AAMA Certification: Conformance with AW-PG50-AP.

- AAMA Certification: Conformance with CW-PG70-AP.

- Project In Configuration:

1.	Project In vent; vent hinged at the bottom and pulls in from the top to open.

2.	Vent-to-vent with a vertical integral mullion in one master frame; vent hinged at the bottom and pulls in from the top to open.

3.	Vent-to-vent with a field installed vertical mullion; vent hinged at the bottom and pulls in from the top to open.

4.	Vent-to-fixed with a vertical integral mullion in one master frame; vent hinged at the bottom and pulls in from the top to open.

5.	Vent-to-fixed with a field installed vertical mullion; vent hinged at the bottom and pulls in from the top to open.

6.	Vent-under-vent with a horizontal integral mullion in one master frame; vent hinged at the bottom and pulls in from the top to open.

7.	Vent-under-vent with a field installed horizontal mullion; vent hinged at the bottom and pulls in from the top to open.

8.	Vent-under-fixed with a horizontal integral mullion in one master frame; vent hinged at the bottom and pulls in from the top to open.

9.	Vent-under-fixed with a field installed horizontal mullion; vent hinged at the bottom and pulls in from the top to open.

10.	Vent-over-fixed with a horizontal integral mullion in one master frame; vent hinged at the bottom and pulls in from the top to open.

11.	Vent-over-fixed with a field installed horizontal mullion; vent hinged at the bottom and pulls in from the top to open.

- Construction:

- All extruded material shall be made from weldable, glass-fiber reinforced frames for both supplementary profiles and main profiles such as frame, sash, and mullions.

- Window Frames and Sashes: Shall have multiple chambers in the frame providing structural strength, thermal insulation, and separation of drainage passages from any metal reinforcing profiles. Frames assembled by the window manufacturer.

- Frame Depth: 3 1/8 Inches (80 mm).

- Primary frame and sash extrusions’ exterior walls: 0.106 Inches (2.7 mm)

- Secondary extrusions (e.g. glazing stops and closures): 0.070 Inches (1.8 mm)

- Optional Low-E Foil Insert. This V shaped weldable PVC component utilizes a highly reflective coating to eliminate convection in profile chambers, strongly reduce heat radiation, and is recommended by the window manufacturer for reliability in the most sever temperature conditions. The low-e foil insert will be inserted by the window manufacturer into all window frame profiles and sashes at the time of manufacturing.

- Window sash and frame shall be configured to receive glazing beads (stops) that snap in on the interior side of the glass for dry glazing applications.

- Glazing beads (stops) shall incorporate coextruded black glazing seals/gaskets.

- Fabrication

- General Requirements:

- Miter cut and fusion weld (i.e. thermally weld) all frame and sash corners.

- Complete fabrication, assembly, finishing, hardware application, and other work for each individual window unit before shipment to site. Field assembly to connect two or more mulled windows is permitted.

- Provide drainage holes to drain moisture to exterior.

- Welding:

- Welding shall be done in compliance with applicable recommendations and shall be done with materials and equipment as recommended by window manufacturer.

- Welds shall be finished and dressed.

- System:

- Window construction, edge clearance and placement of installation fasteners shall allow for expansion and contraction per the specified system performance requirements.

- Provisions shall be made in framing, including sash, for minimum glass edge clearance, nominal edge cover, and nominal pocket width, for thickness and glass type specified.

- Framing shall be provided with reinforcing members as necessary.  Provide steel members as needed to reinforce frame, mullion and/or sash components as recommended by window manufacturer to develop needed strength of assembly.

- Reinforcement:

- If required by window manufacturer, custom-shaped steel reinforcements for the internal applications in windows and doors will be used.

- Steel shall be in size, configuration and location within the window as indicated in the test reports and according to the guidelines set by Peerless Products, window manufacturer.

- Reinforcement may be used between windows that are joined with each other and must be sufficiently sized and anchored according to the structural requirements. Following Peerless Products, window manufacturer’s guidelines and testing.

- Weatherseals:

- Black co-extruded polymer weatherseals:

- Shapes, designs, and thickness as needed to satisfy performance requirements.

- Welded weatherseals shall be provided and installed per Peerless Products, window manufacturer’s guidelines.

G.	Hardware: Mounted and fastened to both window frame and window sash; two stainless steel hinges per vent, conforming to AAMA 904-09, to rotate the vent on horizontal axis, color will closely match the finish of the window.

1.	One single-action handle with multiple point locks per vent, color will closely match the 	finish of the window.

2.	One single-action key-operated handle with multiple point locks per vent, color will 	closely match the finish of the window.

3.	Operable windows will have a mounted limit arm for security and added safety. This 	limit arm will be set with a clear opening dimension of no more than 4 inches.

H.	Insect Screens: Contact a Peerless Products, window manufacturer’s engineer for a complete list of available screen options.

I.	Installation Accessories:

- Window accessories will be provided as either extruded fiber resin made from weldable, glass-fiber reinforced material or extruded aluminum.

- Fabricated with nailing fin frame.

- Exterior Panning frame, snapped into window frame. Available in a variety of depths.

- Exterior Flush Flange, snapped into window frame. Available in a variety of lengths.

- Other installation accessories may be available upon request. Ask a Peerless Products, window manufacturer’s engineer for a complete list of available options.

- Strap Anchors provided as an intermittent strap anchor field installation accessory. Strap anchors to be provided as steel or aluminum anchorage material, following Peerless Products, window manufacturer’s guidelines. Quantity of strap anchors and types of anchorage utilized will be per the specific project requirements.

- Avoid exposed fasteners to greatest extent possible.

- Installation anchors must be approved by the responsible engineer/architect for the project.

J.	Performance:

      - AAMA Certification: Conformance to AW-PG50-AP specifications in AAMA/WDMA/CSA 101/I.S.2/A440-22 when tests are performed on the prescribed 60 inches by 36 inches (1524 mm by 914 mm) minimum test size with the following test results:

a.	Air Infiltration: Not to exceed AAMA 101 standard of maximum 0.1 cfm/square foot when tested per ASTM E283-12 at a static air pressure difference of 6.24 psf.

b.	Air Exfiltration: Not to exceed AAMA 101 standard of maximum 0.3 cfm/square foot when tested per ASTM E283-12 at a static air pressure difference of 1.57 psf.

c.	Water Penetration: No uncontrolled water leakage when tested per ASTM E331-09 and ASTM E547-09 at a static air pressure difference of 12 psf.

d.	Uniform Deflection: No more than L/175 when tested per ASTM E330-14 at a static air pressure difference of 50 psf.

e.	Uniform Structural Load: No glass breakage or permanent damage to fasteners, and maximum .2% permanent deformation of the span of any frame member when tested per ASTM E330-14 at a static air pressure difference of 75 psf.

f.	Forced-entry Resistance: Reasonable security against forced entry and the test window shall achieve a Grade 40 when tested per ASTM F588-07.

      - AAMA Certification: Conformance to CW-PG70-AP specifications in AAMA/WDMA/CSA 101/I.S.2/A440-22 when tests are performed on the prescribed 72 inches by 48 inches (1828 mm by 1219 mm) minimum test size with the following test results:

a.	Air Infiltration: Not to exceed AAMA 101 standard of maximum 0.1 cfm/square foot when tested per ASTM E283-12 at a static air pressure difference of 6.24 psf.

b.	Air Exfiltration: Not to exceed AAMA 101 standard of maximum 0.3 cfm/square foot when tested per ASTM E283-12 at a static air pressure difference of 1.57 psf.

c.	Water Penetration: No uncontrolled water leakage when tested per ASTM E331-09 and ASTM E547-09 at a static air pressure difference of 12 psf.

d.	Uniform Deflection: No more than L/175 when tested per ASTM E330-14 at a static air pressure difference of 70 psf.

e.	Uniform Structural Load: No glass breakage or permanent damage to fasteners, and maximum .2% permanent deformation of the span of any frame member when tested per ASTM E330-14 at a static air pressure difference of 105 psf.

f.	Forced-entry Resistance: Reasonable security against forced entry and the test window shall achieve a Type A - Grade 10 when tested per ASTM F588-07.

K.	Thermal PHIUS Certification: Thermal testing according to Passive House Institute US.

PHIUS component level performance data testing on a casement inswing window tested at 23.62 inches (599 mm) by 59.06 inches (1500 mm) test sized glazed with 1.75 inch (44 mm) triple glazed insulated glass made with 1/4 inch (6 mm) soft coat low E 366 coating on surface #2, argon gas in the airspace made with Cardinal XL Edge stainless steel spacer, 1/4 inch (6 mm) soft coat low E 180 on coating #4, argon gas in the airspace made with Cardinal XL Edge stainless steel spacer, and 1/4 inch (6 mm) soft coat low E i89 coating on surface #6, with the following test result:

1.	Thermal Transmittance: maximum U-Value 0.16 btu/hr/sq.ft/degree F.

2.	Solar Heat Gain Coefficient (SHGC): whole window SHGC equals 0.26

* Project In window configurations will perform very similar to these tested results.

L.	Thermal NFRC Simulation: Thermal computer simulation per NFRC 100/200/500 on a tilt/turn inswing window tested at 47 inches by 60 inches (1200 mm by 1500 mm) test size glazed with 1.75 inch (44 mm) insulating glass made with 1/4 inch (6 mm) soft coat low E 366 coating on surface #2, argon gas in the airspace made with a stainless steel spacer, 1/4 inch (6mm) soft coat low E 180 coating on surface #4, argon in the airspace made with a stainless steel spacer, and 1/4 inch (6 mm) hard coat low E i89 on surface #6, with the following test result:

1.	Thermal Transmittance: maximum U-Value 0.15 btu/hr/sq.ft/degree F.

2.	Solar Heat Gain Coefficient (SHGC): whole window SHGC equals 0.16

* Project In window configurations will perform very similar to these tested results.

M.	Thermal NFRC Simulation: Thermal computer simulation per NFRC 100/200/500 on a tilt/turn inswing window tested at 47 inches by 60 inches (1200 mm by 1500 mm) test size glazed with 1 inch (25 mm) insulating glass made with 3/16 inch (5 mm) soft coat low E 272 coating on surface #2, argon gas in the airspace made with a stainless steel spacer, 3/16 inch (5 mm) clear glass, with the following test result:

1.	Thermal Transmittance: maximum U-Value 0.25 btu/hr/sq.ft/degree F.

2.	Solar Heat Gain Coefficient (SHGC): whole window SHGC equals 0.28

* Project In window configurations will perform very similar to these tested results.

2.3	MUNTINS

A.    Material: Extruded vinyl (PVC) with exposed surfaces finished to match window color; concealed fasteners; designed for unrestricted expansion and contraction.

B.	Design: Muntin bar cross-section profile and material chosen from window manufacturer's standards.

C.	Patterns: Grid patterns to be designated by architect.

D.	Location:

1.	Internal Grid: Between the Glass Grid (BTG). Encapsulated between the two glass lites in the insulating glass unit to protect them from damage and dirt buildup.

2.4	INSULATING GLASS UNITS

A.	Materials:

1.	Spacer: tubular stainless steel.

2.	Spacer color: Stainless metal color.

3.	Primary seal: polyisobutylene.

4.	Secondary seal: Silicone.

5.	Airspace Fill: Plain air.

6.	Airspace Fill: Argon filled.

B.	Performance:

1.	Dual-seal durability: AAMA Certification: Conformance with ASTM E 2190-10; visible, permanent IGCC certification label.

C.	Exterior Glass Lite:

1.	Thickness: 1/8 inch (3 mm).

2.	Thickness: 3/16 inch (5 mm).

3.	Thickness: 1/4 inch (6 mm).

4.	Tint: Clear.

5.	Type: Annealed.

6.	Type: Tempered.

7.	Type: Laminated.

8.	Coating: low E on #2 surface; Cardinal Glass 270, Cardinal Glass 272, Cardinal Glass 366 	or equivalent.

D.	Interior Glass Lite:

1.	Thickness: 1/8 inch (3 mm).

2.	Thickness: 3/16 inch (5 mm).

3.	Thickness: 1/4 inch (6 mm).

4.	Tint: Clear.

5.	Type: Annealed.

6.	Type: Tempered.

7.	Type: Laminated.

8.	Coating: Low E on #3 surface; Cardinal Glass 270, Cardinal Glass 272, Cardinal Glass 366 	or equivalent.

9.	Coating: Low E on #4 surface; Cardinal Glass i89 or equivalent.

2.5	FINISH ON EXTERIOR AND INTERIOR EXTRUSIONS

A.	Typical windows are supplied with an integral white color for all fiber resin parts; other surface colors or finishes are optional.

B.	Laminated Coatings:

1.	Application of laminated color foils from RENOLIT shall be performed under 	specification issued by RENOLIT and REHAU. Alternative finishes will not be acceptable.

2.	The laminated surface shall be uniform and free from streaks, blisters, sags, or other 	surface imperfections.

3.	Laminated profiles must meet the requirements of AAMA 2605-13.

C.	Exterior Laminated Color Finish Options:

1.	Anthracite Grey

2.	Bronze NA

3.	White

4.	Silver D

5.	Midnight Brown

D.	Interior Laminated Color Finish Options:

1.	Anthracite Grey

2.	Bronze NA

3.	White

4.	Silver D

5.	Midnight Brown

PART 3 – GENERAL/OTHER

3.1	EXAMINATION

A.	Do not begin installation until substrates have been properly prepared.

B.	If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

C.	Verify sealant compatibility and adhesion to fiber resin in conjunction with sealant manufacturer.

3.2	PREPARATION

A.	Prepare openings to be in tolerance, plumb, square, level, provide for secure anchoring, and in accordance with approved shop drawings.

B.	Prepare surfaces using the methods recommended by the window manufacturer for achieving the best result for the substrate under the project conditions.

3.3	INSTALLATION

A.	Install windows in accordance with approved shop drawings and window manufacturer's recommendations with skilled craftspeople who have demonstrated a successful history of installing windows for a specified number of years. Provide required support and securely fasten and set windows plumb, square, and level without twist or bow. Install in proper relationship with adjacent construction.

B.	Apply sealant per sealant manufacturer's recommendations at joints, tool and remove excess sealant, and leave exposed sealant surfaces clean and smooth.

3.4	FIELD TESTING

A.	Test installed units in conformance with AAMA 502-12 minimum requirements for air and water infiltration with the window manufacturer, dealer, Contractor, and Owner present.

B.	Select test units as directed by the owner's representative and use an AAMA-accredited laboratory provided by the Owner or Contractor not to be tested higher than 8 psf or 2/3rd reduction of 12 psf.

3.5	ADJUSTING

A.	Adjust windows as necessary for smooth and weather-tight operation.

3.6	CLEANING

A.	Peel all protective film from the window or door surfaces when the window or door installation is complete, leaving these surfaces ready for use without the need for glass/frame cleaning.

B.	Leave the installed windows and doors clean and free of construction debris.

C.	Wash down exposed surfaces using water only. Warm water works best. No detergents, solutions, or chemicals should be used. Be sure to wipe the product with a soft, clean cloth. Take care to remove dirt from corners. Avoid harsh, and abrasive chemicals and materials.

3.7	PROTECTION

A.	Protect installed products until completion of project.

B.	Touch-up, repair or replace damaged products before Substantial Completion.